**Ventilation unit**

Wet scrubber unit (economy )

Rang 1500cfm to 50,000cfm

Wet scrubber unit (deluxe)

Rang 1500cfm to 50,000cfm

Cabinet exhaust unit

Economy / deluxe model

Ceiling / floor standing unit

Rang 1500cfm to 50,000cfm

Fan filter unit

Economy / deluxe model

Ceiling / floor standing unit

Rang 1500cfm to 50,000cfm

Inline fan

Rang 1000cfm to 3200cfm

Smoke exhaust unit

Range 5000cfm 20000cfm

Axial fan /

Smoke exhaust axial fan

Range 1000cfm to 50000cfm

Direct driven sisw blower

Range 5000cfm to 20000cfm